## Slide 1
WLS fibre detector
development at ISIS
    Jeff Sykora, Erik Schooneveld and
    Nigel Rhodes
SINE2020 Meeting
Industry day
13 June 2017

## Slide 2: Overview
Scintillator + WLS fibre detectors
  Basic operation
  Individual major industrial components
ISIS contribution to SINE2020 WP9
Other scintillator detector development lines

## Slide 3: Scintillator detectors
Light detector
(PMT, SiPM, etc.)
Light transport
Scintillator
“Preamp”/Signal Shaping
Signal Processing
Discriminator
Display/Data Acquisition

## Slide 4: Scintillator + WLSF detectors
Conduction band
Eg
Valence band
α, T
Activator type scintillation
n0
3H
4He
ZnS:Ag
6LiF
Scintillator
WLSF
Neutron

## Slide 5: Major industrial components
Scintillator
  Development opportunities available/underway
  Already have a good working relationship with Scintacor

## Slide 6: Major industrial components
Scintillator
  Development opportunities available/underway
  Already have a good working relationship with Scintacor
Fibres

## Slide 7: Major industrial components
Scintillator
  Development opportunities available/underway
  Already have a good working relationship with Scintacor
Fibres
PMTs
  Development opportunities available/underway

## Slide 8: Major industrial components
Scintillator
  Development opportunities available/underway
  Already have a good working relationship with Scintacor
Fibres
PMTs
  Development opportunities available/underway
Scintillator/fibre prep

## Slide 9: Major industrial components
Scintillator
  Development opportunities available/underway
  Already have a good working relationship with Scintacor
Fibres
PMTs
  Development opportunities available/underway
Scintillator/fibre prep
Detector mechanics
  3D printing
  Machining
  Shielding
    Magnetic screening
    Neutron shielding

## Slide 10: Major industrial components
Scintillator
  Development opportunities available/underway
  Already have a good working relationship with Scintacor
Fibres
PMTs
  Development opportunities available/underway
Scintillator/fibre prep
Detector mechanics
  3D printing
  Machining
  Shielding
    Magnetic screening
    Neutron shielding
Electronics

## Slide 11: Major industrial components
Scintillator
  Development opportunities available/underway
  Already have a good working relationship with Scintacor
Fibres
PMTs
  Development opportunities available/underway
Scintillator/fibre prep
Detector mechanics
  3D printing
  Machining
  Shielding
    Magnetic screening
    Neutron shielding
Electronics
Assembly

## Slide 12: Overview
Scintillator + WLS fibre detectors
  Basic operation
  Individual major industrial components
ISIS contribution to SINE2020 WP9
Other scintillator detector development lines

## Slide 13: Work package 9.2.1
Development of a ZnS scintillation detector with WLS fibre readout for high rate reflectometry
  Detector hardware
  PMT readout hardware
  Initial report
  Final report

## Slide 14: Reflectometer requirements on ISIS
2D PSD
  1 x 1mm2 acceptable
  0.5 x 6mm2 acceptable
  0.5 x 0.5mm2 preferable
  500mm x 300mm total size
High efficiency
0.5 – 15 Å range
Good uniformity
Large dynamic range
High rate capability

## Slide 15: Work package 9.2.1
Solution
  ZnS:Ag coupled to FP PMTs with WLS fibre
  Distribute fibres over a large number of PMT channels (i.e. high pixilation)

## Slide 16: Overview
Scintillator + WLS fibre detectors
  Basic operation
  Individual major industrial components
ISIS contribution to SINE2020 WP9
Other scintillator detector development lines

## Slide 17
IMAT
  Diffraction detectors up to ~18m2
  4 mm x 100 mm resolution
  90 degree bank 2.5 m2
    40 FP PMTs
    8m2 scintillator
    ~14,000 fibres
    Mechanics
Powder diffraction IMAT/HRPD/E-MAP
HRPD
  Diffraction detectors up to ~14m2
  5 mm x 200 mm resolution

## Slide 18: Inelastic Neutron Scattering
Current: Resistive Wire technology
Large area – LET = 40m2
2D – 25 mm position resolution
Energy range 0 – 80 meV
Good uniformity
High efficiency
Low background

## Slide 19: Single crystal diffraction SXD/LMX
Varying areas/angular coverage
2D PSD
  1 x 1mm2 acceptable
  0.5 x 0.5mm2 preferable
Good uniformity
High efficiency
Low background

## Slide 20: Investigating scintillators
Scintillator | Decay time (μs) | PL peak (nm) | PL range (nm) | Hygroscopic | Effective Fibre coupling | Gamma sensitivity
ZnO:Zn/LiF* | ~1.7 | 500 | 440-590 | No | Transparent Kuraray Green-Orange | <10-5
CLYC:Ce | 6.3,1.4 and 0.45*3 | 374 | 355–440 | Yes | Kuraray UV-Blue (1/2) | ~2*10-5
n0
3H
4He
ZnO:Zn 3.5 μm grains
6LiF
2:1 ratio
Need detectors with high rate capabilities
ZnS:Ag is limited by afterglow
  Need alternatives
  Faster?
  Sufficient gamma rejection?
  Made in large quantities?
  Affordable?

## Slide 21: Summary
Advancing the rate capability for reflectometers is progressing under SINE2020
There has been a huge amount of R&D progress in scintillator detector technology
ISIS is developing several detector technologies for a wide range of neutron scattering applications
Industry involvement is critical to continuing progression

## Slide 22
Thank you!